## Slide 1
NGS
Jong-So ‘Bellbull’ Kim

## Slide 2
Sanger Sequencing
  Plasmid vector and E.Coli used
  Each round of primer extension is stochastically terminated by the fluorescently labeled ddNTPs.
Cyclic Array Sequencing
CES vs. NGS

## Slide 3
 | CES | NGS
Read Number | 96 or 384 capillaries (limited parallelism) | ~12 billion/run (HiSeq X)
Read Length | Long (~1,000bp) | Short (50~700bp)
Accuracy | ~99.999% | 10 folds less
Cost | $5/rxn (1kb) | As low as $10/Gb
Advantages | Better for small-scale projects (Kb) High accuracy | Cost competitive and practical: technology of choice for large-scale projects In vitro construction of sequencing libraries Low effective reagent volume
CES vs. NGS

## Slide 4
NGS Services
4

## Slide 5
Roche GS FLX 454 Workflow
Sample input & fragmentation
Library preparation & adaptor ligation
Attachment of library to beads
Emulsion PCR amplification
Sequencing in PicoTiterPlate
Pyrosequencing
One Fragment = One Bead = One Read

## Slide 6
emPCR

## Slide 7
7
PicoTiterPlate

## Slide 8
SBS (Sequencing By Synthesis)

## Slide 9
9
SBS

## Slide 10
Pyrosequencing Chemistry

## Slide 11
11
Flowgram Generation

## Slide 12
Roche GS FLX 454 Throughput

## Slide 33
Illumina Workflow
http://support.illumina.com/training.ilmn

## Slide 34
Flow Cell
NGS Platform - HiSeq 2000
34

## Slide 35
Genomic DNA Library Preparation
35
NGS Platform - HiSeq 2000

## Slide 36
Cluster Generation - Hybridize fragment & Extend
36
NGS Platform - HiSeq 2000

## Slide 37
Cluster Generation – Denature Double stranded DNA
37
NGS Platform - HiSeq 2000

## Slide 38
Cluster Generation – Covalently bound spatially separated single molecules
38
NGS Platform - HiSeq 2000

## Slide 39
Cluster Generation – Bridge amplification
39
NGS Platform - HiSeq 2000

## Slide 40
Cluster Generation – Bridge amplification
40
NGS Platform - HiSeq 2000

## Slide 41
Cluster Generation – Bridge amplification
41
NGS Platform - HiSeq 2000

## Slide 42
Cluster Generation – Bridge amplification
42
NGS Platform - HiSeq 2000

## Slide 43
Cluster Generation – Bridge amplification
43
NGS Platform - HiSeq 2000

## Slide 44
Cluster Generation
44
NGS Platform - HiSeq 2000

## Slide 46
Cluster Generation
46
NGS Platform - HiSeq 2000

## Slide 47
Genome analyzer sequencing reaction
47
NGS Platform - HiSeq 2000

## Slide 48
Sequencing
48
NGS Platform - HiSeq 2000

## Slide 49
Sequencing and Imaging
49
NGS Platform - HiSeq 2000
>3,000

## Slide 50
Sequencing and Imaging
OIL
FLOWCELL
PRISM
Obj.
lens
camera
laser
.
.
.
.
.
.
Tile
8 channels/flow cell
X
2 columns/channel
X
50 tiles/column
X
4 images/tile
50
NGS Platform - HiSeq 2000

## Slide 51
Sequencing and Imaging
51
NGS Platform - HiSeq 2000

## Slide 52
Sequencing Procedure
Fluorecently labeled ‘modified’ ddNTP’s are added with a polymerase
A laser excites the flourophore
A camera captures the emission color
The fluorophore is cleaved off and the terminator is removed
Polymerase adds another base
Next cycle begins

## Slide 55
HiSeq 2500 sequencing

## Slide 56
HiSeq 2500 1T sequencing
~1000 Gb (1 Tb)
2 X 125bp
~6-day run time
v4
v4
(2X250bp PE supported)
(Hiseq rapid SBS kit V2)
(Hiseq SBS kit v4)

## Slide 57
HiSeq 2500 1T sequencing

## Slide 58
HiSeq 2500 1T High Output Run Mode

## Slide 59
HiSeq 2500 1T Rapid Run Mode

## Slide 60
Insert size: maximum 800bp, Maximum SE: up to 300bp SE

## Slide 61
HiSeq 4000 sequencing

## Slide 62
Hiseq X
Optimized for Population-Scale Human Genome Sequencing
 18,000 Genomes Per Year

## Slide 63
Hiseq X Performance

## Slide 64
Genome Coverage per Lane

## Slide 67
Dual Indexing adaptor sequece design
Truseq Universal Adapter for PE
5’-AATGA TACGG CGACC ACCGA GATCT ACACT CTTTC CCTAC ACGAC GCTCT TCCGA TCT-3’
TruSeq Adapter, Index 1 for PE
5’-CAAGC AGAAG ACGGC ATACG AGATC GTGAT GTGAC TGGAG TTCAG ACGTG TGCTC TTCCG ATC-3’
The oligo lawns are different for PE and SR flow cells, the PE ones are longer.
That is why you cannot run SR libraries on the PE flow cell.
For single read flowcell:
P5 5´-AATGA TACGG CGACC ACCGA-3´ P7 5´-CAAGC AGAAG ACGGC ATACG A-3´
For PE flow cell:
P5 5’-AATGA TACGG CGACC ACCGA GATCT ACAC-3‘ P7 5’-CAAGC AGAAG ACGGC ATACG AGAT-3’,

## Slide 68
Dual-Indexed Sequencing Overview
I7 index sequencing은 8 cycles,
I5 index sequencing은 15 cycles (7cycles는 dark cycles, 나머지 8 cycles는 index sequencing)

## Slide 69
Sequencing Primer Version Compatibility

## Slide 70
Sequencing only order form

## Slide 71
Multiplexing Considerations

## Slide 75
Illumina DNA Sequencing Libraries

## Slide 76
Illumina DNA Sequencing Libraries

## Slide 78
Size Selection Method 정리
Dual Size Selection | E-gel | Manual gel elution
Beckman Coulter Double SPRI method (Shearing -> Size select) | Invitrogen Pre-cast gel 사용 (Adapter ligation->size select) | Traditional Gel electrophoresis (Adapter ligation->size select)

## Slide 79
RNA/DNA - Size Selection Method 변경
 |  | Human WGS | Human WES-Tru | Non Human WGS | Human WES-SS | mRNA
Before |  | Dual size selection | Dual size selection | E-gel | NONE (protocol 그대로 사용) | E-gel
After | Default | Dual | Dual | Dual | No change | No size selection
 | Option | Insert 지정 library** |  |  |  | 
[논의해야 할 문제]
Dual Size Selection :
- 고객과 상담 시에는 Bead purification이라고 하는 것이 좋을 것으로 판단됨.
2. Insert 지정 library
-150~700bp 까지 가능, 3ug 필요 (dup% 줄이기 위함)하나 1.2ug으로 가능은 함.
-Defualt 대비 약 2만원의 추가 비용 발생함(인건비 포함)하므로 라이브러리 비용 차등화 필요
3. 변경 프로토콜 적용 시점
- Human DNA는 2013. 1월 부터 진행 중

## Slide 85
Size Selection Method 정리
 | Dual Size Selection | E-gel | Manual gel elution
Handling | Easy | Moderate | Difficult
Automation | Yes | No | No
Sample #/1 batch | 96 | 72 (장비 필요) | 24
시약 비용(\) | 681 | 13,690 | 9,078
인건비(\)* | 4,687 | 6,250 | 18,750
Size range | Broad (500bp) | Sharp(200bp) | Flexible
Insert distribution | 정규분포 | Shoulder peak 존재 | 정규 분포이루지 않음
Reproducibilty | High | Low | Mid
Duplicate% | Low | High | Mid(100bp range지정한 경우)
Alignment% | Mid | High | High
권장 Application | Reseq. | - | De novo seq.

## Slide 106
NGS 장비 스펙 비교
 | HiSeq2500 | PacBio RSII | PacBio Sequel | 10 X
장비가격 | $900K | $750K | $350K | $75,000
생산량 | 50, 63, 90Gb/lane | 1Gb/SMRTCell, 8 cells | 7Gb/SMRTCell, 16 cells | ~ 100 kb Average Length (1 ng gDNA) 적은 DNA 양으로 phasing, SNP, SV 가능 Haplotyping De novo sequencing 은 아직 개발 중
Read length | 100, 125, 150bp | 15~20kb | 15~20kb | 
run time(days) | 3.5d | 90min~12h | 90min~1d |